## Cover Sheet
Engineering Survey Form - Central Office
| Site Information |  |  | CO Manager
| Customer Work Order |  | 708991234 | Name | Ken Kennedy
| Elite Work Order |  | ETC999999 | Office | (440) 993-1694
|  |  |  | Mobile | (440) 344-0272
| Exchange |  | Brookville | Email | ken.kennedy@windstream.com
| Exchange CCLI |  | BKVLPAXB
| Exchange Address |  | 120 Pickering St. Brookville, PA | Engineer
|  |  |  | Name | Bill Bright
| Exchange Access |  | Key | Office | (984) 234-2432
Mobile
|  | Site Name | Alaska | Email | Bill.Bright@luffmanbyers.com
| Site CCLI |  | BKVLPAALSK
| Site Address |  | 213 ALASKA RD, Brookville, Pennsylvania 15825 | Customer PM
|  |  |  | Name | Jim Morrison Test
| Site Access |  | Key | Office
| Site Access Notes |  | Brookville Key - 4A1 | Mobile
| Site GPS - Latitude |  | 79° 5'53.46"W | Email | tbcyouth@windstream.net
| Site GPS - Longitude |  | 41°10'45.35"N
Elite Information
| Site Survey Date |  | 10/18/2017 | Project Manager
|  |  |  | Name | Jim Morrison
|  |  |  | Office | (814) 849-7171
|  |  |  | Mobile | (814) 590-5155
|  |  |  | Email | jmorrison@elitetechcomm.com
Site Survey Engineer
Name
Office
Mobile
Email

## Objective
Statement of Work - Objective
test

## Survey Notes
Site Survey Notes
test2

## MCR List
CABLE RUNNING LIST
FROM LOCATION |  |  |  | TO LOCATION
Equipment | RR / Pos | Card Slot | Termination Type | Equipment | RR / Pos | Card Slot | Termination Type | Cable Type | Qty | Length | UOM | Notes
1248 | rr-1 | 1 | sc | fdp | rr-12 | 2 | st | fiber | 1 | 15 | FT | blah bl;ah

## Space-Power
Space & Power Survey
Battery Information
Number of Strings | 1
Number of Cells per String | 24
Battery Install Date: | 10/2/2017
Battery Manufacturer: | C&D
Battery Model #: | 123
Battery Type: | VRLA
Battery Ah Info: | 36
Ambient Temp of Bat Room: | 97.00
Re-labeling required: | no
Signs of post seal or possible leaks: | yes
Any other Issues: | issues
Any Battery Disconnect Switches: | Yes
Rectifier Information
Rectifier Make: | Alpha
Rectifier Model: | 456
DC System Volts: | 24.00
DC System Total Amps: | 2.00
Number of Rectifiers Onsite: | 1
Number of Rectifiers in Operation: | 1
Rectifier AC Info
Number of Poles: | 3
Amp Rating of CB’s: | 25
Number of AC CB Feeding Rectifier Bays: | 1
Total Number of Rectifier Bays in Power Plant: | 1
Main AC Panel Info
Voltage: | 120
Amp Rating of Main CB: | 30
Single Phase or Three Phase: | Single Phase
Safety Items
Battery Spill containment on site: | No
Eyewash / drenching station or Dual bottle eye wash station on site: | No
Fire Extinguisher located in DC Power room or within 10 feet of DC Power system area: | No

## Photos
Pictures